## Sheet1
|  | PIPE SIZE (IN.) | 36 | WWW.SEWERGEEK.COM | [5 empty] | 0.5625 | 48 | 0.7854
|  |  |  | Avg.Velocity (ft./sec.) |  |  |  | 0.053 | 0.9613
Point | Level (in.) | Area (ft.2) | Area (in.2) |  | ft.3/sec. | MGD | GPM |  |  | Area (ft.2) | Area (in.2)
0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0.9613 |  | 0 | 0 |  | 6
1 | 0.36 | 0.012555 | 1.8079 |  | 0 | 0 | 0 | 0.98038 |  | 0.02232 | 3.2141 |  | 8
2 | 0.72 | 0.03348 | 4.8211 |  | 0 | 0 | 0 | 0.99946 |  | 0.05952 | 8.5709 |  | 10
3 | 1.08 | 0.06138 | 8.8387 |  | 0 | 0 | 0 | 1.0185 |  | 0.10912 | 15.7133 |  | 12
4 | 1.44 | 0.09486 | 13.6598 |  | 0 | 0 | 0 | 1.0376 |  | 0.16864 | 24.2842 |  | 14
5 | 1.8 | 0.09486 | 13.6598 |  | 0 | 0 | 0 | 1.0567 |  | 0.16864 | 24.2842 |  | 15
6 | 2.16 | 0.17298 | 24.9091 |  | 0 | 0 | 0 | 1.0758 |  | 0.30752 | 44.2829 |  | 18
7 | 2.52 | 0.17298 | 24.9091 |  | 0 | 0 | 0 | 1.0949 |  | 0.30752 | 44.2829 |  | 21
8 | 2.88 | 0.26505 | 38.1672 |  | 0 | 0 | 0 | 1.1139 |  | 0.4712 | 67.8528 |  | 24
9 | 3.24 | 0.31527 | 45.3989 |  | 0 | 0 | 0 | 1.133 |  | 0.56048 | 80.7091 |  | 30
10 | 3.6 | 0.31527 | 45.3989 |  | 0 | 0 | 0 | 1.1521 |  | 0.56048 | 80.7091 |  | 33
11 | 3.96 | 0.36828 | 53.0323 |  | 0 | 0 | 0 | 1.1712 |  | 0.65472 | 94.2797 |  | 36
12 | 4.32 | 0.48128 | 69.3036 | 1.19 | 0.57272 | 0.3695 | 257.0355 | 1.1903 |  | 0.8556 | 123.2064 |  | 40
13 | 4.68 | 0.54126 | 77.9414 |  | 0 | 0 | 0 | 1.2093 |  | 0.96224 | 138.5626 |  | 42
14 | 5.04 | 0.54126 | 77.9414 |  | 0 | 0 | 0 | 1.2284 |  | 0.96224 | 138.5626 |  | 48
15 | 5.4 | 0.66541 | 95.8198 |  | 0 | 0 | 0 | 1.2475 |  | 1.183 | 170.3462 |  | 54
16 | 5.76 | 0.73098 | 105.2611 |  | 0 | 0 | 0 | 1.2666 |  | 1.2995 | 187.1309 |  | 60
17 | 6.12 | 0.79794 | 114.9034 |  | 0 | 0 | 0 | 1.2857 |  | 1.4186 | 204.2726 |  | 66
18 | 6.48 | 0.8663 | 124.7465 |  | 0 | 0 | 0 | 1.3047 |  | 1.5401 | 221.7715 |  | 72
19 | 6.84 | 0.8663 | 124.7465 |  | 0 | 0 | 0 | 1.3238 |  | 1.5401 | 221.7715 |  | 84
20 | 7.2 | 0.93744 | 134.9914 |  | 0 | 0 | 0 | 1.3429 |  | 1.6666 | 239.9846 |  | 90
21 | 7.56 | 1.0811 | 155.682 |  | 0 | 0 | 0 | 1.362 |  | 1.922 | 276.768 |  | 96
22 | 7.92 | 1.0811 | 155.682 |  | 0 | 0 | 0 | 1.3811 |  | 1.922 | 276.768 |  | 102
23 | 8.28 | 1.1551 | 166.3286 |  | 0 | 0 | 0 | 1.4001 |  | 2.0534 | 295.6954 |  | 112
24 | 8.64 | 1.3071 | 188.2246 |  | 0 | 0 | 0 | 1.4192 |  | 2.3238 | 334.6214 |  | 120
25 | 9 | 1.3838 | 199.273 |  | 0 | 0 | 0 | 1.4383 |  | 2.4602 | 354.263 |  | 126
26 | 9.36 | 1.4634 | 210.7231 |  | 0 | 0 | 0 | 1.4574 |  | 2.6015 | 374.6189 |  | 144
27 | 9.72 | 1.4634 | 210.7231 |  | 0 | 0 | 0 | 1.4765 |  | 2.6015 | 374.6189
28 | 10.08 | 1.5429 | 222.1733 |  | 0 | 0 | 0 | 1.4955 |  | 2.7429 | 394.9747
29 | 10.44 | 1.7047 | 245.4754 |  | 0 | 0 | 0 | 1.5146 |  | 3.0306 | 436.4006
30 | 10.8 | 1.787 | 257.3273 |  | 0 | 0 | 0 | 1.5337 |  | 3.1769 | 457.4707
31 | 11.16 | 1.8693 | 269.1792 |  | 0 | 0 | 0 | 1.5528 |  | 3.3232 | 478.5408
32 | 11.52 | 1.953 | 281.232 |  | 0 | 0 | 0 | 1.5719 |  | 3.472 | 499.968
33 | 11.88 | 2.0381 | 293.4857 |  | 0 | 0 | 0 | 1.5909 |  | 3.6233 | 521.7523
34 | 12.24 | 2.1232 | 305.7394 |  | 0 | 0 | 0 | 1.61 |  | 3.7746 | 543.5366
35 | 12.6 | 2.2083 | 317.993 |  | 0 | 0 | 0 | 1.6291 |  | 3.9258 | 565.321
36 | 12.96 | 2.2948 | 330.4476 |  | 0 | 0 | 0 | 1.6482 |  | 4.0796 | 587.4624
37 | 13.32 | 2.2948 | 342.9216 |  | 0 | 0 | 0 | 1.6673 |  | 4.0796 | 609.6384
38 | 13.68 | 2.3814 | 355.5576 |  | 0 | 0 | 0 | 1.6863 |  | 4.2336 | 632.1024
39 | 14.04 | 2.4691 | 368.213 |  | 0 | 0 | 0 | 1.7054 |  | 4.3896 | 654.601
40 | 14.4 | 2.557 | 393.7248 |  | 0 | 0 | 0 | 1.7245 |  | 4.5458 | 699.9552
41 | 14.76 | 2.7342 | 406.3802 |  | 0 | 0 | 0 | 1.7436 |  | 4.8608 | 722.4538
42 | 15.12 | 2.8221 | 419.2366 |  | 0 | 0 | 0 | 1.7627 |  | 5.017 | 745.3094
43 | 15.48 | 2.9114 | 419.2366 |  | 0 | 0 | 0 | 1.7817 |  | 5.1758 | 745.3094
44 | 15.84 | 2.9114 | 432.0929 |  | 0 | 0 | 0 | 1.8008 |  | 5.1758 | 768.1651
45 | 16.2 | 3.0006 | 444.9492 |  | 0 | 0 | 0 | 1.8199 |  | 5.3345 | 791.0208
46 | 16.56 | 3.0899 | 470.8627 |  | 0 | 0 | 0 | 1.839 |  | 5.4932 | 837.0893
47 | 16.92 | 3.2699 | 483.9199 |  | 0 | 0 | 0 | 1.8581 |  | 5.8131 | 860.3021
48 | 17.28 | 3.3606 | 496.7762 |  | 0 | 0 | 0 | 1.8771 |  | 5.9743 | 883.1578
49 | 17.64 | 3.4498 | 509.8334 |  | 0 | 0 | 0 | 1.8962 |  | 6.133 | 906.3706
50 | 18 | 3.5405 | 522.8906 |  | 0 | 0 | 0 | 1.9153 |  | 6.2942 | 929.5834
51 | 18.36 | 3.6312 | 535.747 |  | 0 | 0 | 0 | 1.9344 |  | 6.4554 | 952.439
52 | 18.72 | 3.7205 | 535.747 |  | 0 | 0 | 0 | 1.9535 |  | 6.6142 | 952.439
53 | 19.08 | 3.7205 | 548.8042 |  | 0 | 0 | 0 | 1.9725 |  | 6.6142 | 975.6518
54 | 19.44 | 3.8111 | 561.6605 |  | 0 | 0 | 0 | 1.9916 |  | 6.7754 | 998.5075
55 | 19.8 | 3.9004 | 587.574 |  | 0 | 0 | 0 | 2.0107 |  | 6.9341 | 1044.576
56 | 20.16 | 4.0804 | 600.4303 |  | 0 | 0 | 0 | 2.0298 |  | 7.254 | 1067.4317
57 | 20.52 | 4.1697 | 613.2866 |  | 0 | 0 | 0 | 2.0489 |  | 7.4127 | 1090.2874
58 | 20.88 | 4.2589 | 626.143 |  | 0 | 0 | 0 | 2.0679 |  | 7.5714 | 1113.143
59 | 21.24 | 4.3482 | 638.7984 |  | 0 | 0 | 0 | 2.087 |  | 7.7302 | 1135.6416
60 | 21.6 | 4.4361 | 651.4538 |  | 0 | 0 | 0 | 2.1061 |  | 7.8864 | 1158.1402
61 | 21.96 | 4.524 | 664.1093 |  | 0 | 0 | 0 | 2.1252 |  | 8.0426 | 1180.6387
62 | 22.32 | 4.6119 | 676.7647 |  | 0 | 0 | 0 | 2.1443 |  | 8.1989 | 1203.1373
63 | 22.68 | 4.6998 | 689.2193 |  | 0 | 0 | 0 | 2.1633 |  | 8.3551 | 1225.2787
64 | 23.04 | 4.7862 | 701.6738 |  | 0 | 0 | 0 | 2.1824 |  | 8.5089 | 1247.4202
65 | 23.4 | 4.8727 | 713.9275 |  | 0 | 0 | 0 | 2.2015 |  | 8.6626 | 1269.2045
66 | 23.76 | 4.9578 | 726.1812 |  | 0 | 0 | 0 | 2.2206 |  | 8.8139 | 1290.9888
67 | 24.12 | 5.0429 | 738.4349 |  | 0 | 0 | 0 | 2.2397 |  | 8.9652 | 1312.7731
68 | 24.48 | 5.128 | 750.4877 |  | 0 | 0 | 0 | 2.2587 |  | 9.1165 | 1334.2003
69 | 24.84 | 5.2117 | 762.3396 |  | 0 | 0 | 0 | 2.2778 |  | 9.2653 | 1355.2704
70 | 25.2 | 5.294 | 774.1915 |  | 0 | 0 | 0 | 2.2969 |  | 9.4116 | 1376.3405
71 | 25.56 | 5.3763 | 786.0434 |  | 0 | 0 | 0 | 2.316 |  | 9.5579 | 1397.4106
72 | 25.92 | 5.4586 | 797.4936 |  | 0 | 0 | 0 | 2.3351 |  | 9.7042 | 1417.7664
73 | 26.28 | 5.5382 | 808.9438 |  | 0 | 0 | 0 | 2.3541 |  | 9.8456 | 1438.1222
74 | 26.64 | 5.6177 | 820.3939 |  | 0 | 0 | 0 | 2.3732 |  | 9.987 | 1458.4781
75 | 27 | 5.6972 | 831.4423 |  | 0 | 0 | 0 | 2.3923 |  | 10.1283 | 1478.1197
76 | 27.36 | 5.7739 | 842.4907 | 2.41 | 13.9151 | 8.9775 | 6245.1018 | 2.4114 |  | 10.2647 | 1497.7613
77 | 27.72 | 5.8506 | 853.3382 |  | 0 | 0 | 0 | 2.4305 |  | 10.4011 | 1517.0458
78 | 28.08 | 5.926 | 863.9849 |  | 0 | 0 | 0 | 2.4495 |  | 10.535
79 | 28.44 | 5.9999 | 874.4306 |  | 0 | 0 | 0 | 2.4686 |  | 10.6665 | 1554.5434
80 | 28.8 | 6.0724 | 884.8764 |  | 0 | 0 | 0 | 2.4877 |  | 10.7954 | 1573.1136
81 | 29.16 | 6.145 | 894.9204 |  | 0 | 0 | 0 | 2.5068 |  | 10.9244 | 1590.9696
82 | 29.52 | 6.2147 | 904.9644 |  | 0 | 0 | 0 | 2.5259 |  | 11.0484 | 1608.8256
83 | 29.88 | 6.2845 | 914.4058 |  | 0 | 0 | 0 | 2.5449 |  | 11.1724 | 1625.6102
84 | 30.24 | 6.35 | 923.8471 |  | 0 | 0 | 0 | 2.564 |  | 11.289 | 1642.3949
85 | 30.6 | 6.4156 | 932.8867 |  | 0 | 0 | 0 | 2.5831 |  | 11.4055 | 1658.4653
86 | 30.96 | 6.4784 | 941.7254 |  | 0 | 0 | 0 | 2.6022 |  | 11.5171 | 1674.1786
87 | 31.32 | 6.5398 | 950.3633 |  | 0 | 0 | 0 | 2.6213 |  | 11.6262 | 1689.5347
88 | 31.68 | 6.5997 | 958.5994 |  | 0 | 0 | 0 | 2.6403 |  | 11.7329 | 1704.1766
89 | 32.04 | 6.6569 | 966.6346 |  | 0 | 0 | 0 | 2.6594 |  | 11.8346 | 1718.4614
90 | 32.4 | 6.7127 | 974.268 |  | 0 | 0 | 0 | 2.6785 |  | 11.9338 | 1732.032
91 | 32.76 | 6.7658 | 981.4997 |  | 0 | 0 | 0 | 2.6976 |  | 12.028 | 1744.8883
92 | 33.12 | 6.816 | 988.3296 |  | 0 | 0 | 0 | 2.7167 |  | 12.1173 | 1757.0304
93 | 33.48 | 6.8634 | 994.7578 |  | 0 | 0 | 0 | 2.7357 |  | 12.2016 | 1768.4582
94 | 33.84 | 6.908 | 1000.5833 |  | 0 | 0 | 0 | 2.7548 |  | 12.281 | 1778.8147
95 | 34.2 | 6.9485 | 1006.007 |  | 0 | 0 | 0 | 2.7739 |  | 12.3529 | 1788.457
96 | 34.56 | 6.9862 | 1010.8282 |  | 0 | 0 | 0 | 2.793 |  | 12.4198 | 1797.0278
97 | 34.92 | 7.0196 | 1014.8458 |  | 0 | 0 | 0 | 2.8121 |  | 12.4794 | 1804.1702
98 | 35.28 | 7.0475 | 1018.0598 |  | 0 | 0 | 0 | 2.8311 |  | 12.529 | 1809.8842
99 | 35.64 | 7.0699 | 1019.6669 |  | 0 | 0 | 0 | 2.8502 |  | 12.5686 | 1812.7411
100 | 36 | 7.081 | 1019.6669 |  | 0 | 0 | 0 | 2.8693 |  | 12.5885 | 1812.7411
This sheet creates tables to convert level to area for round pipe. Enter the pipe size in the red square, (or use drop-down menu), The sheet will calculate 100 points and give an equivelant area in ft.2 or in.2 You can also enter an average velocity for any given level point to calculate a flow in ft.3/sec, MGD or GPM

## Sheet2
| A | B
1 | Known y | Known x
2 | 2 | 6 | 0.30556
3 | 3 | 5
4 | 9 | 11
5 | 1 | 7
6 | 8 | 5
7 | 7 | 4
8 | 5 | 4
| Formula | Description (Result)
| 0.27586 | Slope of the linear regression line through the data points above (0.305556)