## Flows with Grit
|  | Rectangular Pipe |  |  |  | Feet
WWW.SEWERGEEK.COM | [5 empty] | Inches
Height = | 6 | Feet |  | 6
Width = | 4 | Feet |  | 4
Depth = | 6 | Inches |  | 0.5
| 2.15 | = Avg. Vel. Ft./Sec.
[5 empty] | 6 | Feet
6 | Inches
|  | 4 | Feet
| MGD = | 2.7742
| CFS = | 4.3
| GPM = | 1929.84
Drop-down Menus